## Slide 1: S-2S Meeting
2014.8.20
S. Kanatsuki

## Slide 2: Contents
Design of Tracking Detectors by Geant4 simulation
Acceptance
Information on the Aerogel Counter for Proton Veto

## Slide 3: Design of Tracking Detectors
What’s existing?
Downstream
  SDC3, SDC4X, SDC4Y – Old SKS Drift Chamber
Upstream
  E13: SDC2, “HASEGAWA Chamber”
  E10: SSD, SFT
  E19/27: SDC1, SDC2

## Slide 4: Design of Tracking Detectors
Downstream
  SDC3, SDC4X,SDC4Y – Old SKS Drift Chamber
  (Hotchi Doctor thesis)
  Plane configuration and thickness of chamber in G4 programs is like left figure.
  Materials are only gas(Ar+C2H6, 10cm) and windows(Mylar, 0.1mm*2layers)

## Slide 5: Design of Tracking Detectors
Upstream
  SDC1, SDC2
  Cathode plane = 20um graphite pasted on 12um aramid film.
  Structures of SDC1,2 on G4 = SDC3,4 = Mylar+Gas+Mylar
  Mylar 0.1mm*2、Gas=8cm
(K. Shirotori: Doctor thesis)
Notes: SDC1 所在確認する
IQBRC4FでチェンバーSDC3,4とか修理したら良いのでは？

## Slide 6: Design of Tracking Detectors
Upstream
  SFT
  x-plane Φ=1mm
  u/v-plane Φ=0.5mm
(T. Soyama: Master thesis)

## Slide 7: Simulations
Setup
  Particles are generated at 60cm upstream from Q1
  HeBags between QQD and Tracking Detectors
FieldMap
  Opera-3d/TOSCA calculation
Analysis
  RungeKutta method similar to SKS analysis code.

## Slide 8: Results@1.375GeV/c (SDC1,2)
Position resolution of SDC1,2/3,4=0um/0um
200um/250um
300um, 350um
Material = vacuum
Material = Realistic gas and films
σ(dp/p)～3.3×10－6
σ(dp/p)～1.8×10－4
σ(dp/p)～2.3×10－4
σ(dp/p)～5.1×10－4
σ(dp/p)～5.5×10－4
σ(dp/p)～5.6×10－4

## Slide 9: Results@1.375GeV/c (SDC1,2)
dp/p @ 1.375GeV/c in FWHM [10-4]
Main factor is the effect of multiple scattering mainly inside D1Gap
  1DC = SDC2 only
  MS = Multiple Scattering

## Slide 10: Energy Loss
Materials and Momentum decrease
  DCs: 0.3 MeV/c
    He: 0.17mg/cm3, 7m0.1g/cm2
  SFTs: 2.0 MeV/c
    SiFi: 1.03g/cm2, 1mm*4+0.5mm*8 = 8mm8.24g/cm2
σ(dp/p)～2.4×10－4 (FWHM)
σ(dp/p)～0.4×10－4 (FWHM)

## Slide 11: Scattering angle resolution
σθ～2mrad (FWHM)

## Slide 12: Acceptance
2D-Histograms shows events particles hit DC3
P=1.375 GeV/c
Generate point X(horizontal), Y(vertical), Z(beam) are uniformly distributed.

## Slide 13: Acceptance

## Slide 14: Acceptance

## Slide 15: Information on the PVAC
Proton veto counter is needed for E05 with SKS
PVAC for E07
  Radiator
    Refractive index: 1.16~1.17 (3 pieces)
    Size: 12×12 cm2, thickness: 2 cm, 1 cm, ? cm
  Box
    Paper Box
    Teflon sheet
  Can’t suppress
  “elastic protons”.

## Slide 16: Information on the PVAC
SKSminus
S-2S