## Slide 1: Tohoku-Kyoto Meeting JLab hypernuclear experiment
Kyoto University
Toshiyuki Gogami
July 28, 2021

## Slide 2: Done (7/1～)
Hall C futures task force meeting (Jul 1)
  https://hallcweb.jlab.org/wiki/index.php/Hall_C_Futures
Japan-US meeting
  7/9, 7/23(, 8/6)
Core member meetings
  nnL analysis: 7/13, 7/27
  Strategy: 7/27(, 8/5)
JLab Hall A/C Collaboration Meeting (Jul 8—9)
  https://indico.jlab.org/event/451/
  A = 3, 4 hypernuclei  5:00 a.m. on July 10 JST
JLab PAC 49 (Jul 19—23)
  https://www.jlab.org/physics/PAC
  E12-19-002  Approval with a rate of A

## Slide 3: Experimental Setup
HKS (QQD)
1.2 GeV/c K+
e⁻
(4.2 GeV)
New
Magnets
Experimental Setup at JLab Hall A
HRS (QQDQ)
2.7 GeV/c e’

## Slide 4: Possibility in Hall C
K+
SHMS
HKS
Thank you for the drawings + discussions  Bert, Paul, Steve
SHMS + HKS
Vertical HES + vertical HKS
…
Evaluations are in progress

## Slide 5
HKS
HES
SPL/
PCS

## Slide 6: Questions
Can HES (HKS) be vertical in terms of structural stability ?
  Communication with JLab staff
Can we achieve the goal physics in Hall C?
  Simulation study (SIMC, Geant4)
  Resolution, yield, S/N

## Slide 7: Yield per day (Hall C) @ 20μA
Configuration | ΔEΛ (# of events needed for keV) |  5 nb/sr |  100 nb/sr |  10 nb/sr |  10 nb/sr
SPL+(HES+HKS) | 0.5 (113) | 109 (1 day) | 547 | 16 (7 days) | 3.2 (35 days)
PCS+(HES+HKS) |  | 40 (3 days) | 203 | 6.1 (19 days) | 1.2 (94 days)
SHMS+(PCS+HKS) | 1.0 (451) | 37 (12 days) | 186 | 5.6 (81 days) | 1.1 (410 days)
Configuration |  |  |  |  | 
SPL+(HES+HKS) | 0.5 (113) | 109 (1 day) | 547 | 16 (7 days) | 3.2 (35 days)
PCS+(HES+HKS) |  | 40 (3 days) | 203 | 6.1 (19 days) | 1.2 (94 days)
SHMS+(PCS+HKS) | 1.0 (451) | 37 (12 days) | 186 | 5.6 (81 days) | 1.1 (410 days)
In case of keV:
0.5 MeV FWHM  18 counts
1.0 MeV FWHM  72 counts
Not only yield and resolution, but also S/N needs to be studied
 S/N would be reasonable if the HKS-vacuum extension is modified
Areal density of target = 100 mg/cm2

## Slide 8: S/N について
HES-HKS で行って、HKSに e+e- がないとしHall A と同等のハドロンレート。
HES 計数率 = 2.5 MHz @8uA, 52Cr からスケールして (HES-HKS@20uA) 
  2.2 (3He) MHz
  3.6 (40Ca) MHz
  55.7 (208Pb) MHz
Stat. err. < 30 keV
Stat. err. < 20 keV
Stat. err. = 20 keV
HRS-HKS @Hall A
S/N: HES-HKS @Hall C, 20 uA
1.1 MeV FWHM
0.5 MeV FWHM
50 uA
1.1 MeV FWHM

## Slide 9: Hall C possibility
Feasibility (崩れないか、置けるか)
Data quality (分解能、収量、S/N  誤差 vs. 物理)
Cost (リーズナブルか。誰が払うか)

## Slide 10: Target cells (tuna can)
Solid targets (E12-15-008, E12-20-013)
Multi carbon targets
Gas targets (φ200 mm, height = 50 mm)
K+
e’
e

## Slide 11: Target cells (tuna can)
K+
e’
Al cell (0.3 mm thick)
Gas (not to be used)
Gas (to be used)
e
Target | Density [/(g/cm3)] | Temperature [/K] | Pressure [/atm]
 | 9.5 | 12 | 3
 | 13.1 |  | 
 | 2.8 | 30 | 
Target | Density [/(g/cm3)] | Temperature [/K] | Pressure [/atm]
 | 9.5 | 12 | 3
 | 13.1 |  | 
 | 2.8 | 30 | 
Available densities calculated by the JLab Target Group
maintaining a compatibility with our experimental setup:
K+
e’
e

## Slide 12: Target
TAC COMMENT 1:
The authors indicate that a new target system design was developed i n collaboration with the JLab
Target Group to accommodate the restricted space at the target pivot and for compatibility with the
E12-15-008 experiment. Some existing cryogenic gas handling systems can be utilized with
modified operating parameters specifi c to this application. It is noted a new ladder and motion
system (which can be similar to that used for PREX) will need to be built. It was not clear the cost
or how much time is needed for these developments. While the authors note a similar effort to that
of PREX/CREX is likely, it would be useful to illustrate further details of the setup (e. anticipated
power load, conceptual drawings, etc.) and required labor.
We gave up the high density targets (roughly 10 times larger density than that proposed this year was assumed last year) because of the space limitation.
To compensate the density reduction, a larger cell is assumed in this proposal;
50 mm  200 mm for He gas targets (4 times thicker target).
In addition, 2 times longer beamtime is requested for 4He.
Manpower and cost
  Designer and scientist 6 months working at about 60% to complete the design of the target.
  Fabrication of the target will take about 6 months and about $500K in material and fabrication labor.
  The installation will be about 6 weeks and require 80% of the target group technical staff, 1 engineer and 2 scientists.
Heat load W (gas + cell)

## Slide 13
9/8—11 WEPH、可能でしたら是非ご参加お願いします
(前回： http://physics.daliborskoupil.cz/onlineWS2020/ )
PANIC とかぶっている…

## Slide 14: Backup

## Slide 15: 散乱電子側の計数率の見積もり 制動放射のみ クロムを使った過去のデータより
He: (190/134. * 0.01 + 162/134*0.304) * 2.5 * 20./7.3 = 2.2 MHz
Ca: (100/134. * 0.7) * 2.5 * 20./7.3 = 3.6 MHz
Pb: (100/134. * 10.9) * 2.5 * 20./7.3 = 55.7 MHz