## Sheet2
Corresponding table of PMT signals to ADC/TDC
| Divider | Day1 |  | Day2 |  | HV parameter |  | Monitored current [μA] | PW
PMT signal |  | ADC (ch) | TDC (ch) | ADC (ch) | TDC (ch) | V0set [V] | Vmoniter [V]
Scinti1Left | × | 4 | 0 | 4 | 0 |  | 1600.5 | 738 | on
Scinti1Right | × | 8 | 1 | 8 | 1 | 1750 | 1750.5 | 811 | on
Finger1 | ○ | 7 | 2 | 7 | 2 | 1700 | 1700.5 | 443.5 | on
WC1up | ○ | 9 | 3 | 9 | 3 | 1700 | 1700 | 350.5 | on
WC1down | ○ | 10 | 4 | 10 | 4 | 1900 | 1900.5 | 389.5 | on
WC2up | ○ | not connected | 5 | 11 | 5 | 1800 | 1800 | 368.5 | off/on (Day1/Day2)
WC2down | ○ | 12 | 6 | 12 | 6 | 1800 | 1800.5 | 369 | off/on (Day1/Day2)
Buffer | × | 13 | 7 | 13 | 7 | 2000 | 2000.5 | 926.5 | on
Finger2 | ○ | 14 | 8 | 14 | 8 | 1500 | 1500 | 393 | on
Scinti2Left | × | 15 | 9 | 15 | 9 | 1800 | 1800 | 833 | on
Scinti2Right | × | 11 | 10 | 2 | 10 | 1800 | 1800.5 | 832.5 | on
SVup | - | not connected | 11 | not connected | 11 | 1800 | 0 | 0 | off
Svdown | - | not connected | 12 | not connected | 12 | 1800 | 0 | 0 | off
× = PMT output is 2 signals
○ = PMT output is 1 signal
S1
Overhead view of detectors
S1L F1 WC1u WC2u Buffer F2 S2L
S1R WC1d WC2d S2R
Note:
WC2 was installed on the 2nd day. Therefore, data of WC2 were not taken on the 1st day.
Left (right) corresponds to left (right) side with respect to the e+ beam direction.
F1
WC1
S2
WC2
F2
Buffer
e+ beam