## Slide 1: S-2S MEMO
Toshiyuki Gogami
17 May 2015

## Slide 2: Contents
Analysis results of WC test

## Slide 3: Experimental setup
Outer size:
Gravity
SIDE VIEW
PMT(H11284-100UV)
y
z
x
Plastic scintillator (TOF1)
Plastic scintillator (TOF2)
Cosmic ray
WC1
WC2

## Slide 4: Pictures of WC at room.319 in Kyoto Univ.

## Slide 5: Run summary
http://www-nh.scphys.kyoto-u.ac.jp/~gogami/s-2s/doc/wctest2015/RunSummary_wctest2015.pdf

## Slide 6: Analysis

## Slide 7: NPE calibration using LED
Obtain ADC channels per NPE
Fluctuate from time to time due to:
  Fitting results
  Performance fluctuations of electric circuit and PMT etc.
But !!!

## Slide 8: Ensemble of calibration data
Run ID:
3, 5, 7, 9, 11, 13, 15, 17, 18 , 20 and 21
Filled fitting results of each calibration run.

## Slide 9: Ensemble of calibration data
Run ID:
3, 5, 7, 9, 11, 13, 15, 17, 18 , 20 and 21
Used for a conversion
from ADC ch to NPE
Systematic error:
0.25 / 6.84 for WC1
0.22 / 18.95 for WC2

## Slide 10: NPE derivation from NPE histograms
Used function: Single Gaussian function
Scan a fitting range to minimize the fitting chi-square
Obtain the mean value  Used as a result

## Slide 11: A typical NPE histogram with a fitting result
Run37 for y=0 cm

## Slide 12: Data phase
Phase 1 (4/21 – 4/25)
Phase 2 (5/11 – )

## Slide 13: NPE comparison between Phase1 and Phase2 at y=0

## Slide 14: NPE comparison between Phase1 and Phase2 at y=0
PHASE 1
PHASE 2
Reducing ?  will keep taking data more.

## Slide 15: y-dependence for Phase 1 and 2
Phase 1
Phase 2
consistent with the errors.
Tendency is

## Slide 16: y-dependence for Phase 1 and 2
Phase 1
Phase 2
consistent with the errors.
At y = 0 cm,
(PMT1, PMT2, Sum )
= (77.8±0.3, 99.0±0.4, 176.5±0.7)
At y = 0 cm,
(PMT1, PMT2, Sum )
= (68.0±0.5, 86.3±0.6, 154.0±0.7)
REDUCED !!
Tendency is

## Slide 17: Summary
NPE is reducing…
The reduction may be caused by water deterioration due to caulking material (Bathcaulk-N).
Further studies will be done !!